{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["NG Start-Up Sheet","Dual Fuel Addendum"],"not_rendered":{"charts":0,"images":27,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"NG Start-Up Sheet","index":0,"n_rows":55,"n_cols":31,"rows_kept":55,"cut":false,"hidden":false,"merged":[[1,23,1,24],[2,23,2,24],[3,23,3,24],[47,1,47,8],[48,1,48,2],[10,1,10,3],[6,8,6,12],[7,8,8,9],[9,8,9,9],[17,14,17,15],[18,14,18,15],[28,1,28,15],[30,1,30,15],[15,8,15,12],[27,1,27,15],[15,14,15,15],[3,1,3,2],[2,1,2,2],[18,28,18,29],[17,28,17,29],[32,13,32,14],[10,8,10,9],[13,8,14,9],[11,8,12,9],[5,1,6,6],[11,1,11,3],[5,23,6,28],[9,1,9,6],[52,3,52,8],[40,29,40,31],[38,29,38,31],[39,29,39,31],[38,20,38,26],[39,20,39,26],[41,20,41,26],[40,20,40,26],[39,1,39,6],[40,2,40,5],[43,1,43,15],[49,1,49,2],[50,1,50,2],[41,28,41,29],[14,14,14,15],[13,14,13,15],[12,14,12,15],[16,14,16,15],[5,14,5,21],[7,14,7,16],[8,14,8,16],[10,14,10,21],[44,1,45,15],[39,13,39,14],[40,13,40,14],[41,13,41,14],[17,24,17,25],[18,24,18,25],[38,18,38,19],[39,18,39,19],[40,18,40,19],[41,18,41,19],[31,11,31,15],[33,13,33,14],[51,20,52,32],[54,20,55,31],[8,23,8,24],[9,23,9,24],[10,23,10,24],[15,16,15,19],[17,31,17,32],[44,20,48,32],[15,23,16,33],[28,18,31,32],[33,18,35,19],[33,20,35,32]]}
[]
[null,"Job Name:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Model:"]
[null,"Address:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Serial Number:"]
[null,"City:",null,null,null,null,null,null,null,null,null,null,"State:",null,null,"Zip:",null,null,null,null,null,null,null,"Start-up Date:"]
[]
[null,"OVERVIEW",null,null,null,null,null,null,"GAS SUPPLY",null,null,null,null,null,"WATER & ELECTRICAL",null,null,null,null,null,null,null,null,"COMBUSTION*"]
[null,null,null,null,null,null,null,null,"Inspect gas pipe, regulator and meter sizing."]
[null,null,null,null,null,null,null,null,"Is it sized correctly for the BTU/Hr requirement?",null,null,null,null,null,"Water Pipe Dia. (in.): ",null,null,null,null,null,null,null,null,null,null,"Valve 1 Low Fire:",null,"Valve 1 High Fire:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"System Water pH Level: ",null,null,null,null,null,null,null,null,"O2%"]
[null,"How many units are installed at this location? ",null,null,null,null,null,null,"Gas Pipe Dia. (in.):",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"CO ppm"]
[null,"Boiler(s):",null,null,null,null,null,null,"Equivalent Feet:",null,null,null,null,null,"Read and record-",null,null,null,null,null,null,null,null,"CO2%"]
[null,"Water Heater(s):",null,null,null,null,null,null,"Is there an inlet gas lockup regulator on the supply?",null,null,null,null,null,null,null,"High Fire",null,null,"Low Fire"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Inlet Temp:"]
[null,null,null,null,null,null,null,null,"If Yes, is it 10 ft. upstream from the appliance? ",null,null,null,null,null,"Outlet Temp:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Delta T:"]
[null,null,null,null,null,null,null,null,"Record in. of water column** -",null,null,null,null,null,"Pump Location:",null,null,null,null,null,null,null,null,"CLEARANCES  Measure and record (inches) the service clearances from the nearest obstruction (min. 24\" required for service): "]
[null,null,null,null,null,null,null,null,"Static Pressure:",null,null,null,null,null,"Supply Voltage:",null,null,null,"L1:"]
[null,null,null,null,null,null,null,null," Pressure Drop @ Ignition:",null,null,null,null,null,"Total Amp Draw:",null,null,null,"L2:",null,null,null,null,"Front:",null,null,null,"Left Side:",null,null,"Top:"]
[null,null,null,null,null,null,null,null,"Hi-Fire Gas Pressure:",null,null,null,null,null,"Voltage Between N-G:",null,null,null,"L3:",null,null,null,null,"Rear:",null,null,null,"Right Side:"]
[null,null,null,null,null,null,null,null,"Low-Fire Gas Pressure:"]
[]
[]
[]
[]
[]
[]
[]
[null,"Comments/Corrections needed for gas supply, water or electricity:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Comments/Corrections needed for service clearances:"]
[]
[]
[null,"VENTING (Select the option being used):"]
[null,null,null,null,null,null,null,null,null,null,null,"Record the following:"]
[null,null,null,null,null,null,null,null,null,null,null,null,"Vent Pressure \"w.c.:"]
[null,null,null,null,null,null,null,null,null,null,null,null,"Inlet Air Pressure \"w.c.: ",null,null,null,null,null,"General Job Notes:    "]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null," "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"START-UP PERFORMED BY: ",null,null,null,null,null,null,null,null,null,"Internal Use: "]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Company:",null,null,null,null,null,null,null,null,null,"S/O #: "]
[null,"Heat Exchanger condensate piped to:  ",null,null,null,null,null,null,null,null,null,null,"Total Eqv. Length (ft.):",null,null,null,null,null,"Name:",null,null,null,null,null,null,null,null,null,"Routed:"]
[null,null," Air Inlet Diameter (in.):",null,null,null,null,null,null,null,null,null,"Flue Diameter (in.):",null,null,null,null,null,"Phone:",null,null,null,null,null,null,null,null,null,"Tech:"]
[null,null,null,null,null,"Air Inlet Material: ",null,null,null,null,null,null,"Flue Material: ",null,null,null,null,null,"Start-up Certifcation #:  ",null,null,null,null,null,null,null,null,null,"Approved?"]
[]
[null,"Comments/Corrections needed for vent, HEX, or air inlet piping:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"This Startup Sheet is for use only by a qualified heating installer/service technician.  Refer to the Installation and Operation Manual for your reference.  Have this unit serviced/inspected by a qualified service technician, at least annually.  Failure to comply with the above could result in severe personal injury, death, or substantial property damage."]
[]
[]
[null,"Send completed form to:"]
[null,"Email: ",null,"pkhtsupp@harsco.com"]
[null,"Fax:",null,"1 (570)-476-7247"]
[null,"Mail:",null,"Service Dept. / Patterson-Kelley"]
[null,null,null,"155 Burson Street",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"*Note:  For Dual Fuel Models, please fill out the Dual Fuel Addendum worksheet in addition to this sheet. "]
[null,null,null,"East Stroudsburg, PA 18301"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"**Note:  Gas Pressure Drop should be checked with Water Tube Manometer."]

{"sheet":"Dual Fuel Addendum","index":1,"n_rows":42,"n_cols":22,"rows_kept":42,"cut":false,"hidden":false,"merged":[[13,11,18,15],[6,9,6,10],[12,4,12,7],[1,1,1,2],[2,1,2,2],[3,1,3,2],[1,19,1,20],[2,19,2,20],[3,19,3,20],[8,4,9,4],[10,4,11,4]]}
[]
[null,"Job Name:",null,{"$f":"'NG Start-Up Sheet'!D2","v":0},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Model:",null,{"$f":"'NG Start-Up Sheet'!Z2","v":0}]
[null,"Address:",null,{"$f":"'NG Start-Up Sheet'!D3","v":0},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Serial Number:",null,{"$f":"'NG Start-Up Sheet'!Z3","v":0}]
[null,"City:",null,{"$f":"'NG Start-Up Sheet'!D4","v":0},null,null,null,null,null,null,null,"State:",{"$f":"'NG Start-Up Sheet'!N4","v":0},null,null,"Zip:",{"$f":"'NG Start-Up Sheet'!Q4","v":0},null,null,"Start-up Date:",null,{"$f":"'NG Start-Up Sheet'!Z4","v":0}]
[]
[null,null,null,null,"GAS SUPPLY",null,null,null,null,"COMBUSTION"]
[null,null,null,null,"Gas Pipe Dia. (in.):",null,null,null,null,"Valve 1 Low Fire:",null,null,"Valve 1 High Fire:"]
[null,null,null,null,"Equivalent Feet:",null,null,null,null,"O2%"]
[null,null,null,null,"Is there an inlet gas lockup regulator on the supply?",null,null,null,null,"CO ppm"]
[null,null,null,null,null,null,null,null,null,"CO2%"]
[null,null,null,null,"If Yes, is it 10 ft. upstream from the appliance? "]
[]
[null,null,null,null,"Record in. of water column* -"]
[null,null,null,null,"Static Pressure:",null,null,null,null,null,null,"This Startup Sheet is for use only by a qualified heating installer/service technician.  Refer to the Installation and Operation Manual for your reference.  Have this unit serviced/inspected by a qualified service technician, at least annually.  Failure to comply with the above could result in severe personal injury, death, or substantial property damage."]
[null,null,null,null,"Pressure Drop @ Ignition:"]
[null,null,null,null,"Hi-Fire Gas Pressure:"]
[null,null,null,null,"Low-Fire Gas Pressure:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"*Please save workbook before hitting submit on page 1."]